## Sheet1
Feeder ID | Feeder Name | Date of Survey | DISCOM Name | District Name | Name of Block (as per census) | Latitude | Longitude | Circle Name | Division Name | Division ID | Sub-Division Name | Sub-Division ID | Feeding Sub-station Name | Feeding Sub-station ID | Voltage Ratio (132/33KV Or 33/11KV) | Capacity in MVA | Configuration (in No.s X MVA) | Name of Feeder | Feeder Code | Feeder Category (Rural/Urban/Dedicated Industrial/Agricultural/Mix) | Feeder Length (km) | Feeder Voltage Level (KV) | Feeder Conductor Type/Cable Type | Original Commissioning Date | S/s Incoming Feeder Name | Feeder monitored through RT-DAS (Yes/No) | Meter available (if yes) | Meter Serial No. | Meter Manufacturer's Name/Make | Meter Rating | Meter Type | Meter Working (Yes/No) | Meter Box available | Meter Multiplication factor provided by meter manufacturer | Date and Time of Feeder Meter Installation | Capturing of CB status through NA/Meter/Modem | line-PT arrangement (Yes/No) | CTPT available (if Yes) | CT Make | CT Rating | CT Type | CT Connected ratio | PT Make | PT Rating | PT Type | PT corrected ratio | Site photo of meter | Site photo of CT | Site photo of PT | Nos. of DTs connected | Total Transformation Capacity of DTs (kVA) | Rural Consumer | Urban Consumer | Industrial Consumer | Agriculture Consumer | Priority Consumers (Water Supply/Hospital etc.) | Name of the Block being supplied by the feeder | Mobile No JE | Mobile No EE | GPRS signal strength Airtel | SIM Type Airtel | GPRS signal strength Jio | SIM Type Jio | Survey agency name | Surveyor Name | Remarks